## summary
Command | Parameter | Example | Response | digi test | HDA | BSA V2 | HPE III V2 | HPE III AUTO V1.00 | Gelomat
GET | DEV_EVENT_SEND |  |  | v
GET | DEV_HOEHE_ALLOWED |  |  | v
GET | DEV_HOEHE_ENABLED |  |  | v
GET | DEV_KEY_FUN |  |  | v
GET | DEV_KEY_START |  |  | v
GET | DEV_MS_POS_MODE |  |  | v
GET | DEV_MS_PTS_MAX |  | DEV_MS_PTS=4 | v
GET | DEV_MS_PTS_MODE |  |  | v
GET | DEV_NAME | GET(DEV_NAME),DB21 | DT II HDA | v | v | v | v | v | v
GET | DEV_SV | GET(DEV_SV),563B |  | v | v |  | v | v | v
GET | MS_DURATION | GET(MS_DURATION),EC15 | X | v | v |  |  | v
GET | MS_METHOD | GET(MS_METHOD),2C41 | "SHORE A,…" | v | v |  |  | v | v
SET | DEV_EVENT_SEND=OFF |  |  | v
SET | DEV_EVENT_SEND=ON |  |  | v
SET | DEV_HOEHE_ENABLED=FALSE |  |  | v
SET | DEV_KEY_FUN=LOCK |  |  | v
SET | DEV_KEY_FUN=UNLOCK |  |  | v
SET | DEV_KEY_START=LOCK |  |  | v
SET | DEV_KEY_START=UNLOCK |  |  | v
SET | DEV_MS_POS_MODE=CENTERED |  |  | v
SET | DEV_MS_POS_MODE=HIGHEST |  |  | v
SET | DEV_MS_PTS_MODE=1 |  |  | v
SET | MS_DURATION | SET(MS_DURATION=5),3A3D | 0…99 | v | v |  | v | v
SET | MS_PRO=BREAK_SOFT |  |  | v
SET | MS_PRO=STARTED |  |  | v
DATA | MS_VALUE | [6 empty] | v
GET | DATA=SEND_ALL | [5 empty] | v
GET | DEV_ABS_ZL | GET(DEV_ABS_ZL),3F5F |  |  |  |  | v
GET | DEV_AUTOOFF | GET(DEV_AUTOOFF),8337 |  |  |  |  | v
GET | DEV_BARDOC_LONG | GET(DEV_BARDOC_LONG),4BF5 |  |  |  |  | v | v
GET | DEV_BUZZER | GET(DEV_BUZZER),258B |  |  |  |  | v
GET | DEV_ID | [6 empty] | v
GET | DEV_IR_EMI | GET(DEV_IR_EMI),FE93 |  |  |  |  | v
GET | DEV_LANG | GET(DEV_LANG),5320 |  |  |  |  | v
GET | DEV_LAST_CAL | GET(DEV_LAST_CAL),68F3 |  |  |  |  | v | v
GET | DEV_NEXT_CAL | GET(DEV_NEXT_CAL),FC39 |  |  |  |  | v | v
GET | DEV_REL_ZL | GET(DEV_REL_ZL),0C5D |  |  |  |  | v
GET | DEV_SEND_FORMAT | GET(DEV_SEND_FORMAT),8F40 |  |  |  |  | v
GET | DEV_SN | GET(DEV_SN),BCF9 |  |  |  |  | v | v
GET | DEV_STATUS | [6 empty] | v
GET | DEV_TIME | GET(DEV_TIME),458A |  |  |  |  | v
GET | DEV_VI_INTV | GET(DEV_VI_INTV),9452 |  |  |  |  | v
GET | DEV_VI_NEXT | GET(DEV_VI_NEXT),91BE |  |  |  |  | v
GET | DEV_VIEW | GET(DEV_VIEW),660A |  |  |  |  | v
GET | ERROR | GET(ERROR)735E | MW o. NaN |  | v
GET | LAST_TIMESTAMP | GET(DEV_TIMESTAMP),5320 |  |  |  |  | v
GET | MAX_NUMBER | GET(MAX_NUMBER),90E0 |  |  |  |  | v
GET | MS_LIFT | GET(MS_LIFT),5829 | E0000,MS_LIFT=2.0,D80E | [5 empty] | v
GET | MS_MODE | GET(MS_MODE)F623 |  |  | v |  |  |  | v
GET | MS_VALUE | GET(MS_VALUE),FF81 |  |  | v
GET | SYSTEM | GET(SYSTEM),E9D5 |  |  |  |  | v | v
MOV_ABS | HOME_POS | MOV_ABS(HOME_POS),0B5D |  |  |  | v
MOV_ABS | START_POS | MOV_ABS(START_POS),FD44 |  |  |  | v
MS_PRO | START | MS_PRO(START),0B27 |  |  | v | v |  |  | v
MS_PRO | STOP | MS_PRO(STOP),05F9 |  |  | v | v |  |  | v
RESET | ALL | RESET(ALL),26EC | Reset mit Werkssetup |  | v
RESET | DEVICE | RESET(DEVICE),A560 | Reset ohne Werkssetup |  | v
SET | DATA=ERASE_ALL | [5 empty] | v
SET | DATA=ERASE_LAST | SET(DATA=ERASE_LAST),B716 |  |  |  |  | v
SET | DEV_BARDOC_LONG | SET(DEV_BARDOC_LONG=FALSE),203E | TRUE /FALSE |  | v |  | v | v
SET | DEV_BUZZER | SET(DEV_BUZZER=TRUE),88D3 |  |  |  |  | v
SET | DEV_DISPLAY=ON | SET(DEV_DISPLAY=ON),224A |  |  |  |  | v
SET | DEV_PERMA_BL=TRUE | SET(DEV_PERMA_BL=TRUE),1FA7 |  |  |  |  | v
SET | MS_LIFT | SET(MS_LIFT=2.0),6BD0 | [6 empty] | v
SET | MS_MODE | SET(MS_MODE="STD_M"),9EA4 | [6 empty] | v
SET | SH5_ENABLE=TRUE | SET(SH1_ENABLE=TRUE),980E |  |  |  |  | v

## others
HDA
Befehl | Parameter |  | Beispiel
GET | DEV_NAME | DT II HDA | GET(DEV_NAME),DB21
| DEV_SV |  | GET(DEV_SV),563B
| MS_DURATION | X | GET(MS_DURATION),EC15
| MS_METHOD | "SHORE A,…" | GET(MS_METHOD),2C41
| MS_MODE | "STANDARD M", "HYSTERESE M", "STANDARD GRAPH M",.. | GET(MS_MODE)F623
| MS_VALUE |  | GET(MS_VALUE),FF81
| ERROR | MW o. NaN | GET(ERROR)735E
SET | MS_DURATION | 0…99 | SET(MS_DURATION=5),3A3D
| DEV_BARDOC_LONG | TRUE /FALSE | SET(DEV_BARDOC_LONG=FALSE),203E
MS_PRO | START |  | MS_PRO(START),0B27
| STOP |  | MS_PRO(STOP),05F9
RESET | ALL | Reset mit Werkssetup | RESET(ALL),26EC
| DEVICE | Reset ohne Werkssetup | RESET(DEVICE),A560
UPGRADE | -
BSA V2
Befehl | Parameter
GET | DEV_NAME | E0000("HPE III,BSA_V2.00"),8B44 | GET(DEV_NAME),DB21 | ???
MS_PRO | START |  | MS_PRO(START),0B27
| STOP |  | MS_PRO(STOP),05F9
MOV_ABS | START_POS |  | MOV_ABS(START_POS),FD44
| HOME_POS |  | MOV_ABS(HOME_POS),0B5D
UPGRADE | -
??? Noch abklären, GET(OPT_NAME)… evtl. eine Lösung????
HPE III V2
Befehl | Parameter | Antwort (kurz)
GET | DEV_NAME | HPE III, HPE III BASIC | GET(DEV_NAME),DB21
| DEV_SV | Firmwareversion | GET(DEV_SV),563B
| DEV_SN | Seriennummer | GET(DEV_SN),BCF9
| DEV_BARDOC_LONG | Langtext-Sendeformat | GET(DEV_BARDOC_LONG),4BF5
| DEV_NEXT_CAL | Nächste Kalibierung | GET(DEV_NEXT_CAL),FC39
| DEV_LAST_CAL | Letzte Kalibrierung | GET(DEV_LAST_CAL),68F3
| DEV_ABS_ZL | absoluter Zähler | GET(DEV_ABS_ZL),3F5F
| DEV_REL_ZL | relativer Zähler (ab letzter Kalibrierung) | GET(DEV_REL_ZL),0C5D
| DEV_VI_INTV | Sichtprüfungsintevall | GET(DEV_VI_INTV),9452
| DEV_VI_NEXT | nächste Sichtprüfung | GET(DEV_VI_NEXT),91BE
| DEV_SEND_FORMAT | Sendeformat | GET(DEV_SEND_FORMAT),8F40
| DEV_BUZZER | Summer für Prüfungsende signalisieren | GET(DEV_BUZZER),258B
| DEV_AUTOOFF | Automatische Abschaltung nach 0-9 min. | GET(DEV_AUTOOFF),8337
| DEV_TIME | Systemzeit | GET(DEV_TIME),458A
| LAST_TIMESTAMP | Zeitstempel der letzten Härtprüfung | GET(DEV_TIMESTAMP),5320
| DEV_LANG | Systemsprache | GET(DEV_LANG),5320
| DEV_VIEW | Ansicht | GET(DEV_VIEW),660A
| DEV_IR_EMI | EMI Faktor IR-Sensor | GET(DEV_IR_EMI),FE93
| MS_METHOD | "SHORE A,…" | GET(MS_METHOD),2C41
| MS_DURATION | Messzeit 0…99s | GET(MS_DURATION),EC15
| MAX_NUMBER | Anzahl der Prüfungen im Speicher | GET(MAX_NUMBER),90E0
| DATA=SEND_ALL | Alle Daten senden |  | ???
| SYSTEM | Systemparameter senden | GET(SYSTEM),E9D5
SET | MS_DURATION |  | SET(MS_DURATION=5),3A3D
| DEV_BUZZER |  | SET(DEV_BUZZER=TRUE),88D3
| DEV_BARDOC_LONG |  | SET(DEV_BARDOC_LONG=FALSE),203E
| DATA=ERASE_ALL |  |  | ???
| DATA=ERASE_LAST |  | SET(DATA=ERASE_LAST),B716 | ???
| SH5_ENABLE=TRUE | INFO(SH1=TRUE) bei Erreichen von 1 Shore | SET(SH1_ENABLE=TRUE),980E
| DEV_PERMA_BL=TRUE |  | SET(DEV_PERMA_BL=TRUE),1FA7 |  | SET(DEV_PERMA_BL=FALSE),A32B
| DEV_DISPLAY=ON |  | SET(DEV_DISPLAY=ON),224A |  | SET(DEV_DISPLAY=OFF),66A2
UPGRADE | -
HPE III AUTO V1.00
Befehl | Parameter | Antwort (kurz)
GET | DEV_NAME
DEV_SV
DEV_ID
DEV_STATUS
DEV_SN
DEV_BARDOC_LONG
DEV_NEXT_CAL
DEV_LAST_CAL
| MS_DURATION | X
| MS_METHOD | "SHORE A,…"
SYSTEM
SET | DEV_BARDOC_LONG
MS_DURATION
DATA | MS_VALUE | MW o. NaN
Gelomat
COMMAND | PARAMETER | EXAMPLE | ANSWER
GET | DEV_NAME | GET(DEV_NAME),DB21 | E0000,DEV_NAME="GELOMAT II",A9F4
| DEV_SV | GET(DEV_SV),563B | E0000,DEV_SV=1.04,F8FF
| MS_LIFT | GET(MS_LIFT),5829 | E0000,MS_LIFT=2.0,D80E
| MS_METHOD | GET(MS_METHOD),2C41 | E0000,MS_METHOD="20N",A423
| MS_MODE | GET(MS_MODE)F623 | E0000,MS_MODE="STD_M",4928
SET | MS_LIFT | SET(MS_LIFT=2.0),6BD0 | E0000,MS_LIFT=2.0,D80E
| MS_MODE | SET(MS_MODE="STD_M"),9EA4 | E0000,MS_MODE="STD_M",4928
MS_PRO | START | MS_PRO(START),0B27 | E0000,MS_PRO=START,B6CC
| STOP | MS_PRO(STOP),05F9 | E0000,MS_PRO=STOP,E683
COMMAND(PARAMETER),CRC
Checksum CRC: CRC-CCITT (XModem) -> see https://www.lammertbies.nl/comm/info/crc-calculation.html
End: | CRLF
Fehlermeldungen:
HDA
E | #define | Text
0 | NO_ERROR
1 | ERROR_CRC
2 | UNKNOWN_COMMAND
3 | UNKNOWN_PARAMETER
4 | OUT_OF_RANGE
10 | DEVICE_BUSY
14 | COM_STOP
101 | ABSTAND_ZU_GROSS | DISTANCE TOO LARGE
102 | ABSTAND_ZU_KLEIN | DISTANCE TOO SMALL
103 | PROBE_ZU_HART | SPECIMEN TOO HARD
104 | PROBE_ZU_WEICH | SPECIMEN TOO SOFT
105 | DEV_SETUP_ACTIVE
106 | NO_MS_DEV | NO MEASURING DEVICE
107 | CHANGE_MS_DEV | MEASURING DEVICE CHANGED
26 | ARM_NICHT_IN_AUSGANGSPOSITION | ARM HOME POS NOT REACHED
71 | IO_STOP
HPE III V2
0 | NO_ERROR
1 | ERROR_CRC
2 | UNKNOWN_COMMAND
3 | UNKNOWN_PARAMETER
4 | OUT_OF_RANGE
10 | DEVICE_BUSY
10006 | PRT_SYSTEM | intern / Systemdaten senden
HPE III auto
0 | NO_ERROR
4 | ERROR_CRC
7 | NO_COMMAND
8 | UNKNOWN_PARAMETER
9 | OUT_OF_RANGE
15 | DEVICE_BUSY
BSA V2
0 | NO_ERROR
2 | ERROR_CRC
3 | NO_COMMAND
4 | NO_PARAMETER
5 | OUT_OF_RANGE
9 | DISTANCE_TOO_SMALL
10 | DISTANCE_TOO_BIG
11 | DEVICE_BUSY
12 | GO_TO_DEVICE | intern

## digitest
GET | SET | Response | Note
- | MS_PRO=STARTED | MS_PRO=STARTED | Measuring procedure started
- | MS_PRO=BREAK_SOFT | MS_PRO=BREAK_SOFT | Measuring procedure stopped
DEV_KEY_FUN | DEV_KEY_FUN=LOCK | DEV_KEY_FUN=LOCK | FUN-Key locked
DEV_KEY_FUN | DEV_KEY_FUN=UNLOCK | DEV_KEY_FUN=UNLOCK | FUN-Key unlocked
DEV_KEY_START | DEV_KEY_START=LOCK | DEV_KEY_START=LOCK | START – Key locked
DEV_KEY_START | DEV_KEY_START=UNLOCK | DEV_KEY_START=UNLOCK | START – Key unlocked
DEV_EVENT_SEND | DEV_EVENT_SEND=ON/OFF | DEV_EVENT_SEND=ON/OFF | ON=SAAL / OFF=SCHIEDEL
DEV_MS_PTS_MAX | - | DEV_MS_PTS_MAX=4 | 1: No selection
2: 1 or 2 points per sample
4: All PTS_Mode
DEV_MS_PTS_MODE | DEV_MS_PTS_MODE=1 | DEV_MS_PTS_MODE=1 | 1: Single measurement
2: Two points
3: 1,2…
4: 1,3…
DEV_HOEHE_ALLOWED |  | DEV_HOEHE_ALLOWED=TRUE | Thickness measurement allowed
DEV_HOEHE_ENABLED | DEV_HOEHE_ENABLED=FALSE | DEV_HOEHE_ENABLED=FALSE | Thickness measurement on / off
DEV_MS_POS_MODE | DEV_MS_POS_MODE=HIGHEST | DEV_MS_POS_MODE=HIGHEST
DEV_MS_POS_MODE | DEV_MS_POS_MODE=CENTERED | DEV_MS_POS_MODE=CENTERED
Ereignisgesteuerte Hinweise/Fehlermeldungen vom digi test
E | INFO-Text | Beschreibung | Betrifft
0 | DEV_KEY=START | Inquiry for measuring procedure with START-key sent from digi test to interface | DEV_KEY
0 | DEV_KEY=STOP | Measurement process aborted by the digi test with the STOP key | DEV_KEY
0 | MS_PRO=FINISHED | Measuring procedure succesfully completed | MS_PRO
0 | MS_PRO=BREAK_SOFT | Measuring procedure via SET(MS_PRO=BREAK_SOFT) aborted | MS_PRO
4 | DEV_COM=CRC_ERROR | CRC-Error | DEV_COM
7 | DEV_COM=NO_COMMAND | No command | DEV_COM
100 | MS_PRO=ACTIVE | Response to GET / SET within a measurement process (except STOP command) | MS_PRO
101 | MS_PRO=ABSTAND_ZU_GROSS | Distance between indentor and sample too large | MS_PRO
102 | MS_PRO=ABSTAND_ZU_KLEIN | Distance between indentor and sample too small | MS_PRO
120 | MS_PRO=BAR_START_IN_LASER | Sample under laser at starting procedure -> BAROx | MS_PRO
121 | MS_PRO=BAR_NO_FREE_REF_POS | Reference position is occupied | MS_PRO
122 | MS_PRO=BAR_NO_SAMPLE | No sample on the table | MS_PRO
200 | MS_PRO=USE_MSHA_VLRH |  | MS_PRO
201 | MS_PRO=USE_VLRH |  | MS_PRO
202 | MS_PRO=USE_IRHD_L |  | MS_PRO
203 | MS_PRO=USE_IRHD_N |  | MS_PRO
204 | MS_PRO=USE_SH_OO |  | MS_PRO
205 | MS_PRO=USE_SH_A |  | MS_PRO
206 | MS_PRO=USE_SH_000 |  | MS_PRO
207 | MS_PRO=USE_SH_000S |  | MS_PRO
208 | MS_PRO=USE_SH_A0 |  | MS_PRO
209 | MS_PRO=USE_ASKER_C |  | MS_PRO
210 | MS_PRO=USE_MSHA |  | MS_PRO
299 | MS_PRO=PROBE_ZU_WEICH | // only VLRH or Shore000S | MS_PRO
400 | DEV_SETUP=ACTIVE | Response to GET / SET if digi test is in setup mode (FUN pressed) | DEV_SETUP
401 | DEV_SETUP=NO_MS_DEV | Response to GET / SET if no measuring device is connected to the digi test | DEV_SETUP
402 | DEV_SETUP=OUT_OF_RANGE | Out of range | DEV_SETUP
420 | DEV_SETUP=BAR_NO_JUSTIERUNG | Measuring device not yet adjusted for Baroxx at START | DEV_SETUP
421 | DEV_SETUP=BAR_NO_T_KORREKT | Table correction not yet for barotation at START | DEV_SETUP
450 | DEV_SETUP=BARO_FORBIDEN_DEV | Unauthorized measuring device for barotation at START | DEV_SETUP